## E
| Request For Lithium Battery |  |  | Please complete grey sections below as precise as possible *must be filled
DYNAMIS
CUSTOMER:
Project Name:
Date:
DYNAMIS-Project Number
DYNAMIS-Part-No.
Customer-Number
responsible sales person
1. | Description |  |  |  | DYNAMIS
| Application* | (existing product, description)
| Type of power use* | (Motor, Electronics, Light)
| Voltage of Application: | Max. Voltage [V]*
Minimum or cut-off voltage [V]*
| Which accu is already in use? | (Chem. System, Voltage, Capacity, ...)
Manufacturer and Type
| Intented Design | Chemical System*
Nominal Voltage*
Design Capacity*
Celltype*
Cell Part Number *
No. of Cells serial*
No. of Cells parallel*
| Current limit by design | e.g. PolySwtich, Pico-Fuse, or other
| to be definded by DYNAMIS | Charge Methode*
|  |  | Battery | Cell
|  | Max. Charging Current* [A] | 0
|  | Max. charging Voltage* [V] | 0
|  | Full Charge Voltage* [V] | 0
|  | CV-cut off Current* [A] | 0
Max. Cell Voltage* [V]
- release condition [V]
Min. Cell Voltage* [V]
- release condition [V]
Cell PowerOff Volatge* [V]
|  | Short circuit * [A] | 0
short circuit Reactiontime* [ms] (15.5 us-7.95 ms)
|  | Overcurrent Charge* [A] | 0
|  | Overcurrent Discharge* [A] | 0
Overcurrent Reactiontime* [ms] (Max. 31 ms)
| Communication | necessary [y/n]*
| if yes | Type*
misc
Special Dimensions?
| Specification | (Military, special, own, other)
attached as file/document (yes/no)
2. | Detail data for the design of the PCM |  |  |  | DYNAMIS
Type of PCM or BMS to be used
Type of protection circuit (only overcharge protection or single cell monitoring etc)
DYNAMIS
2.1 | General | Basic (Over-/Undervolage & Overcurrent
Cell Balancing (passive)
Single-Cell-Monitoring
Fuel Gauge (specify under 8. other specifications)
On-board Charger? y/n*
| if yes | Supply Voltage
| if no | specify used charger - attach datasheet if possible
DYNAMIS
2.2 | DIS (Discharge) | Average discharge current / typical working current Idis [mA]*
Duration of Idis per working cycle [min]
Max. Current Imax [A]*
Duration of Imax per cycle [min]*
Min. Discharge Current IDis,min [A]*
Duration of complete working cycle [min]*
Total number of working cycles between recharge operations*
in addition: Standby-current (mA, duration complete cycle or part)
| Pulse-cycles ? | (if applied, please add drawing/graphic expression)
DYNAMIS
2.3 | CHA (Charge) | Charge current Icha [mA]*
Duration of charging using Icha [min] *
Max. charge current Imaxcha [mA]*
Min. Charge Current ICh,min [A]*
Fast-Charge-Capability necessary ? y/n
DYNAMIS
2.4 | Short Circuit | max. Short Circuit Current ISC,max
DYNAMIS
3. | Dimensions | max. Length [mm]
max. Width [mm]
max. Height [mm]
Special position for PCM?
4. | Temperatures, Cycles and Service Life |  |  |  | DYNAMIS
| Expected service life: | (Months/Years)
| Duration of complete working cycle (CHA and DIS) | (min/h/days/...)
| Storage temp. min.: | [°C]*
| Storage temp. max.: | [°C]*
| Working temp. min. (CHA): | [°C]*
| Working temp. max. (CHA): | [°C]*
| Working temp. min. (DIS): | [°C]*
| Working temp. max. (DIS): | [°C]*
5. | Yearly consumption and delivery data |  |  |  | DYNAMIS
| Estimated yearly volume | [Pcs/year]
| Number of samples wanted | [Pcs]
Wish date for sampling
| Volume of first order, est. | [Pcs]
Wish date for first delivery
6. | Cable connection
| Diameter | (AWG# or mm²)
| Length | (mm)
| Connection (cable detail, bare wire etc) | (simply cut/tin coated-mm/ insulation removed-mm)
7. | Plugs
| Plug type | Manufacturer
Type
| Specials | Please describe….
8. | Other specifications